###### WATERSHED PROTECTION PERMIT PLAN CHECKLIST

Applications for Watershed Protection Permits shall be accompanied by plans in duplicate and drawn to scale showing the following:

(a)	Location of Project

_____	Identify the appropriate classification.  WS-II-CA, WS-II-BW, WS-III-CA, WS-III-BW, WS-IV-CA, WS-IV-PA.

_____	Project included within a 5%/70% district.

(b)	Lot Dimensions.

_____	Actual dimensions and acreage of the lot to be built upon and the location of any right of ways that may affect development on the lot.

_____	Average lot size (in square feet).

- Built Upon Area.

_____	The accurate location and use of all existing and proposed buildings and other structures, and for non-residential developments the location and size, in square feet, of al built-upon areas including parking and loading facilities.

_____	The percent of the project that will be covered with an impervious surface.

_____	The area, in acres, to be left natural.

- Dwelling Units.

_____	The total number of dwelling units proposed on the lot or tract.

- Streams/Rivers.

_____	The accurate location of all perennial streams and natural drainage areas on the property.

- Adjacent Property Owners.

_____	The names of adjoining property owners.

- Buffers.

_____	The location of all required buffer areas.

- *Wet Detention Devices.

When local governments provide for a high density option, the location of any wet detention devices shall be shown and shall be designed, constructed and maintained according to the requirements as established by the Division of Environmental Management.

_____	Storm Water Controls Are Used.

_____	If Storm Water Controls are used, the name of certifying Engineer is provided.

- *Private Water and Sewer Systems.

_____	Individual water supply systems and/or ground absorption sewage disposal systems may be permitted subject, to preliminary approval by the County Health Department that there is sufficient space on the lot for such systems.

* Optional requirements